**SOP 43 Template 1**

**Laboratory Equipment validation and maintenance**

*The use of this template is not mandated by the JRMO and may be adapted to be study specific.*

|  |  |
| --- | --- |
| **Equipment Name** |  |
| **Serial/Identification Number** |  |
| **Equipment Location** |  |
|  | **Comments** | **Acceptable Y/N** |
| Intended use of equipment  | *How will the equipment be used in the study?* *Consider the contribution of the equipment to maintaining primary/secondary endpoints* |  |
| Equipment documentation | *Installation documentation**Manufacturers Operating Manual**Internal SOP/User Guide*  |  |
| Equipment acceptance testing  | *The laboratory shall verify upon installation and before use that the equipment is capable of achieving the necessary performance and that it complies with requirements relevant to any examinations concerned* *Each item of equipment shall be uniquely labelled, marked or otherwise identified* |  |
| Equipment Calibration  | *The laboratory shall have a documented procedure for the calibration of equipment that directly or indirectly affects examination results*  |  |
| Maintenance schedule  | *The laboratory shall have a documented programme of maintenance which, at a minimum, follows the manufacturer’s instructions and internal laboratory maintenance schedule.* *Any defective equipment that fails maintenance checks must be taken out of use until necessary repairs and validation is completed.*  |  |
| **Sign Off** | **Signature** | **Date** |
| **Laboratory Scientist** |  |  |
| **Laboratory Manager** |  |  |